## Slide 1: ESO NIR detector characterization for the ELT era
Elizabeth M. George
ESO Detector Group

## Slide 2: Past: NIR detector characterization for the VLT era
1 Hawaii2 for MAD
1 Hawaii2RG for SPIFFI - 2005
4 Hawaii2RG for HAWKI - 2007
1 Hawaii2RG for X-SHOOTER
1 Hawaii2RG for IRDIS in SPHERE
1 Hawaii2RG for IFS in SPHERE
3 Hawaii2RG for KMOS
1 Hawaii2RG for GRAVITY spectrometer
1 Hawaii2RG for GRAVITY acquisition camera
1 Hawaii2RG for MATISSE – 2018 delivery
3 Hawaii2RG for CRIRES mosaic – 2018 delivery
1 Hawaii2RG for CRIRES slit viewer – 2018 delivery
2 Hawaii2RG for SPIFFIER/ERIS/NIX – 2019 delivery
21 H2RG detectors in 13 different environments
Notes: Each detector tested per instrument, different tests run on each detector.

## Slide 3: Past: NIR detector characterization for the VLT era
1 Hawaii2 for MAD
1 Hawaii2RG for SPIFFI - 2005
4 Hawaii2RG for HAWKI - 2007
1 Hawaii2RG for X-SHOOTER
1 Hawaii2RG for IRDIS in SPHERE
1 Hawaii2RG for IFS in SPHERE
3 Hawaii2RG for KMOS
1 Hawaii2RG for GRAVITY spectrometer
1 Hawaii2RG for GRAVITY acquisition camera
1 Hawaii2RG for MATISSE – 2018 delivery
3 Hawaii2RG for CRIRES mosaic – 2018 delivery
1 Hawaii2RG for CRIRES slit viewer – 2018 delivery
2 Hawaii2RG for SPIFFIER/ERIS/NIX – 2019 delivery
21 H2RG detectors in 13 different environments
Each detector tested and used in a unique way—Different:
  Test conditions
  Optimization
  Datasets
  Operation parameters
  Controllers
  Applications
  Reference pixel subtraction
Notes: Each detector tested per instrument, different tests run on each detector.

## Slide 4: Future: ELT first light NIR detectors
MICADO + HARMONI = ~1/4 Billion NIR pixels.
17 identical
4k x 4k detectors
68 identical
2k x 2k detectors
HARMONI
HARMONI
MICADO
MICADO

## Slide 5: Testing philosophy
Comprehensive
Picture Frame
Channel offsets
Dark Current
Linearity
Cross-talk
IPC
Read noise
Full well
Persistence
Reciprocity Failure
QE
Cosmetics
?

## Slide 6: Testing philosophy
Comprehensive
Standardized
Picture Frame
Channel offsets
Dark Current
Linearity
Cross-talk
IPC
Read noise
Full well
Persistence
Reciprocity Failure
QE
Cosmetics
?

## Slide 7: Testing philosophy
Comprehensive
Standardized
Searchable/Linkable
Picture Frame
Channel offsets
Dark Current
Linearity
Cross-talk
IPC
Read noise
Full well
Persistence
Reciprocity Failure
QE
Cosmetics
?

## Slide 8: FIAT and the ESO Archive
Notes: FIAT is like a VLT instrument
Detector to be tested; 1. 2x2 H4RG with 15μm pixels, 2. 2x1 H4RG with 15μm pixels, 3. 1 H4RG with 15μm pixels, 4. 2x 2H2RG, 5. 1H2RG, 6. 1H4RG with 15μm pixels in the MOONS configuration.

## Slide 9: FIAT and the ESO Archive
FIAT
raw data
ESO Archive
Detector Engineers
Instrument Teams
ESO Quality Control
Astronomers
Us
You
Calibration Scientists
Analysis Pipeline
How is this useful?
Notes: HOW IS THIS USEFUL?

## Slide 10: KMOS and the ESO Archive
KMOS
raw data
ESO Archive
Detector Engineers
Instrument Teams
ESO Quality Control
Astronomers
Us
You
Calibration Scientists
Analysis Pipeline
Notes: KMOS storytime!

## Slide 11: Mysterious KMOS Darks
Notes: WHO RECOGNIZES THIS?

## Slide 12: JWST NIRSpec detector PCA
Reproduced from: Rauscher et al. 2013 “Principal Components Analysis of a JWST NIRSpec Detector Subsystem”
PCA test on H2RG controlled by SIDECAR ASIC – with reference pixel correction

## Slide 13: JWST NIRSpec detector PCA
Reproduced from: Rauscher et al. 2013 “Principal Components Analysis of a JWST NIRSpec Detector Subsystem”
PCA test on H2RG controlled by SIDECAR ASIC – with reference pixel correction

## Slide 14: JWST NIRSpec detector PCA
Reproduced from: Rauscher et al. 2013 “Principal Components Analysis of a JWST NIRSpec Detector Subsystem”
PCA test on H2RG controlled by SIDECAR ASIC – with reference pixel correction

## Slide 15: CRIRES+ detector PCA
PCA test on H2RG controlled by NGC – no reference pixel correction

## Slide 16: CRIRES+ detector PCA
PCA test on H2RG controlled by NGC – no reference pixel correction
No picture frame

## Slide 17: CRIRES+ detector PCA
PCA test on H2RG controlled by NGC – no reference pixel correction

## Slide 18: CRIRES+ PCA – Bias stability requirements
< 1 e- Picture frame in 99% pixels:
No reference pixel subtraction:
< 3 µV RMS
With reference pixel subtraction:
< 15 µV RMS
Notes: WHAT CAN WE OBSERVE THAT TRACKS BIAS CHANGES?

## Slide 19: ESO Archive

## Slide 20: ESO Archive
..............
..............
..............
..............
..............
..............
..............
..............
..............
..............
..............
..............
..............
..............
..............
Notes: Example: SINFONI-- 46,328 darks and 78,575 flats

## Slide 21: Statistical analysis of >7000 KMOS darks

## Slide 22: Statistical analysis of >7000 KMOS darks
dPix/dRefpix
dPix/dRefpix
dPix/dRefpix
Detector 1
Detector 2
Detector 3

## Slide 23: Statistical analysis of >7000 KMOS darks
dPix/dRefpix
dPix/dRefpix
dPix/dRefpix
Detector 1
Detector 2
Detector 3
Analysis
Pipeline

## Slide 24: H2RG at the telescope
1 Hawaii2 for MAD
1 Hawaii2RG for SPIFFI – 2005 – IRACE
4 Hawaii2RG for HAWKI – 2007 – IRACE
1 Hawaii2RG for X-SHOOTER –2009 – IRACE
1 Hawaii2RG for IRDIS in SPHERE – 2014 – NGC
1 Hawaii2RG for IFS in SPHERE – 2014 – NGC
3 Hawaii2RG for KMOS – 2013 – NGC
1 Hawaii2RG for GRAVITY spectrometer
1 Hawaii2RG for GRAVITY acquisition camera
1 Hawaii2RG for MATISSE – 2018 delivery
3 Hawaii2RG for CRIRES mosaic – 2018 delivery
1 Hawaii2RG for CRIRES slit viewer – 2018 delivery
2 Hawaii2RG for SPIFFIER/ERIS/NIX – 2019 delivery
21 H2RG detectors in 13 different environments – 2 different controllers
6 H2RG controlled by IRACE in 3 cryostats
5 H2RG controlled by NGC in 3 cryostats
Notes: Each detector tested per instrument, different tests run on each detector.

## Slide 25: NGC vs. IRACE
KMOS 1
KMOS 2
KMOS 3
SPIFFI
XSHOOTER
SPHERE
IFU
𝛔ref ~ 4 ADU
𝛔ref ~ 0.9 ADU

## Slide 26: How was this useful?
Have a correction for the picture frame.
Discovered a controller problem.
Set specifications on bias stabilities.

## Slide 27: FIAT Detector Data
Comprehensive
Standardized
Searchable/Linkable
Picture Frame
Channel offsets
Dark Current
Linearity
Cross-talk
IPC
Read noise
Full well
Persistence
Reciprocity Failure
QE
Cosmetics
?

## Slide 28: Building a Detector Model
Picture Frame
Channel offsets
“Epoxy” pattern
Dark Current
Read noise
Full well
Persistence
Reciprocity Failure
QE
Cosmetics
Linearity
Cross-talk
IPC
ACN
?

## Slide 29: Building a Detector Model
Bias Voltage Variations
Picture Frame
Channel offsets
“Epoxy” pattern
Temperature Variations
Temperature
Bias voltages
Dark Current
Read noise
Read Speed
Exposure
Fluence
Wavelength
Full well
Persistence
Reciprocity Failure
QE
Cosmetics
Linearity
Cross-talk
IPC
Reference pixel correction
ACN
?
?
?
?
?

## Slide 30: ELT NIR Detector Characterization
ELT requires a statistically relevant number of identical detectors
  Tested in the same way
  Monitored over time
Make a model of detector behavior
  Use for Optimization
  Use for calibration/analysis pipeline
  Learn about detectors!

## Slide 31: Credits
Trevor Mendel (MPE)
Derek Ives (ESO)
Simon Tulloch (ESO)
Leander Mehrgan (ESO)
Matthias Seidel (ESO)
…..and the rest of the ESO detector group.